## KZ-1
Richards-University of Alberta, KZ-1, Sericite, 13.22 mg, J = 0.001823 ± 0.30%
4 amu discrimination = 1.0414 ± 0.40%, 40/39K = 0.0002 ± 150.00%, 36/37Ca = 0.000228 ± 10.28%, 39/37Ca = 0.000792 ± 11.04%
step | T (C) | t (min.) | 36Ar | 37Ar | 38Ar | 39Ar | 40Ar | %40Ar* | % 39Ar rlsd | Ca/K | 40Ar*/39ArK | Age (Ma) | 1s.d. | 40Ar/36Ar | 39Ar/36Ar
1 | 650 | 12 | 2.357 | 7.938 | 1.58 | 82.139 | 2579.77 | 74.5 | 7.6875 | 1.0268 | 23.5419 | 75.81 | 0.524 | 1094.5142 | 34.849
2 | 700 | 12 | 1.162 | 13.098 | 1.232 | 76.705 | 2144.4 | 85.3 | 7.1789 | 1.8148 | 23.9711 | 77.163 | 0.535 | 1845.4389 | 66.0112
3 | 750 | 12 | 1.285 | 26.326 | 1.853 | 119.392 | 3232.71 | 89.3 | 11.174 | 2.3439 | 24.2339 | 77.991 | 0.532 | 2515.7276 | 92.9121
4 | 780 | 12 | 0.563 | 19.195 | 1.335 | 93.529 | 2434.59 | 94.2 | 8.7535 | 2.1814 | 24.644 | 79.282 | 0.531 | 4324.3162 | 166.1261
5 | 820 | 12 | 0.345 | 12.504 | 1.686 | 123.592 | 3111.52 | 97.4 | 11.5671 | 1.075 | 24.6614 | 79.337 | 0.5 | 9018.8986 | 358.2377
6 | 850 | 12 | 0.152 | 1.392 | 1.348 | 102.008 | 2536.55 | 98.8 | 9.547 | 0.14494 | 24.6888 | 79.423 | 0.553 | 16687.8289 | 671.1053
7 | 880 | 12 | 0.155 | 0.656 | 1.219 | 91.343 | 2272.98 | 98.7 | 8.5489 | 0.07628 | 24.6465 | 79.29 | 0.541 | 14664.3871 | 589.3097
8 | 910 | 12 | 0.156 | 0.597 | 1.127 | 82.561 | 2040.44 | 98.5 | 7.727 | 0.076804 | 24.4213 | 78.581 | 0.587 | 13079.7436 | 529.2372
9 | 940 | 12 | 0.212 | 0.513 | 0.989 | 71.263 | 1792.34 | 97.8 | 6.6696 | 0.076461 | 24.5591 | 79.015 | 0.542 | 8454.434 | 336.1462
10 | 980 | 12 | 0.217 | 0.597 | 1.023 | 73.004 | 1834.99 | 97.7 | 6.8325 | 0.086859 | 24.5439 | 78.967 | 0.56 | 8456.1751 | 336.424
11 | 1020 | 12 | 0.266 | 0.51 | 0.857 | 61.485 | 1567.29 | 96.4 | 5.7544 | 0.088102 | 24.5185 | 78.887 | 0.538 | 5892.0677 | 231.1466
12 | 1080 | 12 | 0.426 | 0.359 | 0.865 | 58.262 | 1542.26 | 93.4 | 5.4528 | 0.065447 | 24.6535 | 79.312 | 0.557 | 3620.3286 | 136.7653
13 | 1160 | 12 | 0.606 | 0.279 | 0.491 | 27.195 | 806.112 | 82.4 | 2.5452 | 0.10897 | 23.5654 | 75.884 | 0.639 | 1330.2178 | 44.8762
14 | 1400 | 12 | 1.785 | 1.187 | 0.512 | 5.997 | 646.816 | 25.6 | 0.56126 | 2.1038 | 24.0885 | 77.533 | 1.374 | 362.3619 | 3.3597
|  |  | %40Ar*: Cumulative %39Ar rlsd = | 99.9995 |  | Total gas age = | 78.528 | 0.27307
note: isotope beams in mV, rlsd = released, error in age includes J error, all errors 1 sigma | [10 empty] | Plateau age = | 79.0174 | 0.38908
(36Ar through 40Ar are measured beam intensities, corrected for decay for the age calculations) | [10 empty] | (steps 3-12)
No isochron

## KZWS17-03
Lee-Geological Survey of Canada, Ottawa, KZWS17-03, Muscovite, 4.30 mg, J = 0.001696 ± 0.93%
4 amu discrimination = 0.7814 ± 0.09%, 40/39K = 0.0132 ± 4.62%, 36/37Ca = 0.000211 ± 0.78%, 39/37Ca = 0.000632 ± 0.57%
step | T (C) | t (min.) | 36Ar | 37Ar | 38Ar | 39Ar | 40Ar | %40Ar* | % 39Ar rlsd | Ca/K | 40Ar*/39ArK | Age (Ma) | 1s.d. | 40Ar/36Ar | 39Ar/36Ar
1 | 700 | 12 | 0.581 | 0.04 | 0.235 | 9.189 | 474.207 | 54 | 3.4443 | 0.028681 | 25.7723 | 77.181 | 0.765 | 816.191 | 15.8158
2 | 750 | 12 | 0.298 | 0.057 | 0.216 | 11.329 | 451.404 | 75.6 | 4.2464 | 0.03315 | 27.8247 | 83.188 | 0.778 | 1514.7785 | 38.0168
3 | 780 | 12 | 0.375 | 0.135 | 0.461 | 26.615 | 918.257 | 84.6 | 9.976 | 0.03342 | 27.1351 | 81.172 | 0.753 | 2448.6853 | 70.9733
4 | 810 | 12 | 1.306 | 0.187 | 0.923 | 47.501 | 1877.85 | 73.6 | 17.8046 | 0.025938 | 27.0975 | 81.062 | 0.75 | 1437.8637 | 36.3714
5 | 840 | 12 | 0.438 | 0.167 | 0.691 | 47.737 | 1504.53 | 88.9 | 17.8931 | 0.023049 | 26.0783 | 78.078 | 0.728 | 3435 | 108.9886
6 | 870 | 12 | 0.159 | 0.153 | 0.541 | 39.942 | 1178.55 | 94.9 | 14.9713 | 0.025238 | 26.0353 | 77.952 | 0.723 | 7412.2642 | 251.2075
7 | 900 | 12 | 0.104 | 0.119 | 0.281 | 19.815 | 584.745 | 93.6 | 7.4272 | 0.039568 | 25.5959 | 76.664 | 0.712 | 5622.5481 | 190.5288
8 | 1000 | 12 | 0.267 | 0.411 | 0.434 | 28.962 | 907.367 | 88.9 | 10.8557 | 0.093501 | 25.877 | 77.488 | 0.74 | 3398.3783 | 108.4719
9 | 1120 | 12 | 0.365 | 0.918 | 0.547 | 32.016 | 1041.16 | 86.9 | 12.0004 | 0.18892 | 26.2466 | 78.571 | 0.726 | 2852.4932 | 87.7151
10 | 1400 | 12 | 0.199 | 3.438 | 0.314 | 3.684 | 164.298 | 58.9 | 1.3809 | 6.1583 | 23.5305 | 70.597 | 1.121 | 825.6181 | 18.5126
|  |  | %40Ar*: Cumulative %39Ar rlsd = | 100 |  | Total gas age = | 78.872 | 0.10594
note: isotope beams in mV, rlsd = released, error in age includes J error, all errors 1 sigma | [10 empty] | No plateau
(36Ar through 40Ar are measured beam intensities, corrected for decay for the age calculations) | [10 empty] | No isochron

## KZWS17-56
Lee-Geological Survey of Canada, Ottawa, KZWS17-56, Muscovite, 5.40 mg, J = 0.001703 ± 0.87%
4 amu discrimination = 0.7814 ± 0.09%, 40/39K = 0.0132 ± 4.62%, 36/37Ca = 0.000211 ± 0.78%, 39/37Ca = 0.000632 ± 0.57%
step | T (C) | t (min.) | 36Ar | 37Ar | 38Ar | 39Ar | 40Ar | %40Ar* | % 39Ar rlsd | Ca/K | 40Ar*/39ArK | Age (Ma) | 1s.d. | 40Ar/36Ar | 39Ar/36Ar
1 | 820 | 12 | 5.136 | 6.99 | 1.673 | 29.133 | 2705.19 | 28.3 | 4.4193 | 2.1253 | 24.4866 | 73.705 | 0.701 | 526.7114 | 5.6723
2 | 890 | 12 | 1.34 | 11.185 | 1.667 | 111.687 | 3674.83 | 86.2 | 16.9423 | 0.88681 | 26.4155 | 79.385 | 0.69 | 2742.4104 | 83.3485
3 | 920 | 12 | 0.222 | 0.129 | 1.205 | 93.252 | 2661.65 | 96.9 | 14.1458 | 0.012247 | 25.7112 | 77.313 | 0.672 | 11989.4144 | 420.0541
4 | 950 | 12 | 0.124 | 0.07 | 0.832 | 65.486 | 1872.71 | 97.8 | 9.9338 | 0.0094635 | 25.9426 | 77.994 | 0.674 | 15102.5 | 528.1129
5 | 980 | 12 | 0.177 | 0.07 | 1.04 | 80.503 | 2295.08 | 97.3 | 12.2118 | 0.0076982 | 25.7475 | 77.42 | 0.671 | 12966.5537 | 454.8192
6 | 1010 | 12 | 0.165 | 0.051 | 0.929 | 70.997 | 2046.83 | 97.2 | 10.7698 | 0.0063596 | 26.0054 | 78.179 | 0.682 | 12405.0303 | 430.2848
7 | 1040 | 12 | 0.213 | 0.063 | 0.815 | 61.402 | 1772.29 | 95.8 | 9.3143 | 0.0090836 | 25.6368 | 77.094 | 0.669 | 8320.6103 | 288.2723
8 | 1070 | 12 | 0.195 | 0.053 | 0.73 | 57.081 | 1659.71 | 96 | 8.6589 | 0.0082203 | 25.8562 | 77.74 | 0.678 | 8511.3333 | 292.7231
9 | 1100 | 12 | 0.167 | 0.041 | 0.58 | 43.573 | 1269.23 | 95.7 | 6.6098 | 0.0083304 | 25.7679 | 77.48 | 0.671 | 7600.1796 | 260.9162
10 | 1150 | 12 | 0.111 | 0.033 | 0.368 | 26.287 | 774.487 | 95.6 | 3.9876 | 0.011114 | 25.7577 | 77.45 | 0.674 | 6977.3604 | 236.8198
11 | 1400 | 12 | 0.138 | 0.208 | 0.289 | 19.82 | 611.491 | 93.8 | 3.0066 | 0.092912 | 26.0819 | 78.404 | 0.707 | 4431.0942 | 143.6232
|  |  | %40Ar*: Cumulative %39Ar rlsd = | 100 |  | Total gas age = | 77.7445 | 0.0813
note: isotope beams in mV, rlsd = released, error in age includes J error, all errors 1 sigma | [10 empty] | No plateau
(36Ar through 40Ar are measured beam intensities, corrected for decay for the age calculations) | [10 empty] | No isochron